Supplementary Materials

Supplementary Materials for: Quantifying Roof-Facet Fragmentation Effects on Rooftop PV Packing Using LoD2 Geometry: A Controlled Experiment and Stuttgart Pilot

Mahdiyeh Tabatabaei 1,* and Jan Cremers 2

1	Department of Architecture, Alma Mater Studiorum - University of Bologna, Bologna, Italy

2	Faculty of Architecture and Design, HFT Stuttgart - University of Applied Sciences, Stuttgart, Germany

*	Correspondence: mahdiyeh.tabatabaei2@unibo.it

S1. Computational lineage and reproducibility

The analytical chain is deterministic from the supplied historical inputs to the reported base-case result. CityGML roof polygons are assigned row-stable source identifiers, checked for invalid or negligible geometry, screened for nested coplanar duplicates, and then consolidated into physical roof facets using shared-boundary, angular and vertical tolerances. Each physical facet is clipped by the external setback envelope, transformed to local roof-plane coordinates and passed to the module-packing routine. Statistical summaries are generated at building level from the resulting packed and continuous capacities.

The package records the exact historical filenames, file sizes and SHA-256 hashes used for the Stuttgart analysis. The seed 20260913 is used for the controlled fragmentation experiment and for the building-level bootstrap. The main calculation uses Python 3.13.5 with the versions reported in the manuscript.

Table S1. Input-file integrity manifest for the historical Stuttgart test package.

| File | Bytes | SHA-256 |
| --- | --- | --- |
| CityGML_Alles_2018_11_27_07_15_56.zip | 430797 | 1ba4a59dad49c76eb56197dad5d5ce3f559484d75b3d3971965d61098157ff91 |
| 2018-11-27_07-16-14_Liegenschaftskarte_ohne_Eigentuemer.xml | 6360895 | 9d316fbbb1abe1a393b38f606e6d16504ec9a8e43aeed480480bb76b23323c8a |
| Auswertung.log | 324 | cbc6eb92446049688bd3adef91e4d6a1a09f77406c2974231ba9223571fda06b |
| Koordinatenreferenzsystem_EPSG_25832_ETRS89_UTM.txt | 168 | c38dc932828672f4a87e3d56a0fc5efbcfd750ed91336242c12e3c457a1277b5 |

S2. Geometry and packing parameters

Table S2. Parameters fixed in the base scenario.

| Parameter | Base value | Purpose |
| --- | --- | --- |
| Coordinate reference system | EPSG:25832 | Metric geometric computation |
| Nested-coplanar overlap threshold | ≥99% of smaller polygon | Remove almost wholly contained duplicate roof surfaces |
| Coplanar normal tolerance | ≤1° | Consolidate data-model partitions on the same roof plane |
| Coplanar vertical tolerance | ≤0.10 m | Consolidate vertically coincident adjacent partitions |
| Minimum shared boundary | >0.05 m | Require adjacency before merging |
| External roof-envelope setback | 0.30 m in plan view | Base usable-area screen |
| Base module | LONGi LR5-54HTB-440M; 1.722 × 1.134 m; 440 W | Packing and capacity reference |
| Module clearance | 10 mm | Manufacturer-guided base spacing |
| Offset search | 9 × 9 offsets per orientation | Production packing search |
| Controlled roof | 12 × 10 m outer geometry | Isolate subdivision effect |
| Controlled realizations | 50 per facet count, 2–12 facets | Estimate distribution of fragmentation loss |
| Bootstrap | 10,000 building-level resamples | Within-window uncertainty summary |

Table S3. Coplanar-consolidation tolerance sensitivity. For each tolerance pair, physical facets were reconstructed and the affected building packings were recomputed before the aggregate shortfall and building-level facet-density association were recalculated. Across the grid, all raw two-sided correlation p-values were ≤0.00014.

| Normal tolerance | Vertical tolerance | Physical facets | Aggregate shortfall (%) | Spearman ρ |
| --- | --- | --- | --- | --- |
| 0.5° | 0.05 m | 342 | 14.271 | 0.657 |
| 0.5° | 0.10 m | 341 | 14.259 | 0.637 |
| 1.0° | 0.05 m | 341 | 14.277 | 0.652 |
| 1.0° | 0.10 m (base) | 340 | 14.265 | 0.631 |
| 1.0° | 0.20 m | 339 | 14.264 | 0.631 |
| 2.0° | 0.10 m | 338 | 14.232 | 0.631 |
| 2.0° | 0.20 m | 337 | 14.231 | 0.631 |

S3. Controlled experiment and numerical search checks

Table S4. Median incremental fragmentation loss in the controlled experiment.

| Facet count | Median incremental loss (%) |
| --- | --- |
| 1 | 0.00 |
| 2 | 12.50 |
| 3 | 18.75 |
| 4 | 22.92 |
| 5 | 29.17 |
| 6 | 32.29 |
| 7 | 35.42 |
| 8 | 37.50 |
| 9 | 41.67 |
| 10 | 43.75 |
| 11 | 45.83 |
| 12 | 47.92 |

Across all controlled realizations, internal-boundary density showed the strongest monotonic association with incremental loss (Spearman ρ = 0.968), followed by facet count (ρ = 0.939). Small-facet area share, facet-area coefficient of variation and mean compactness gave ρ values of 0.584, 0.440 and −0.621, respectively.

Table S5. Packing-search verification summary.

| Item | Result |
| --- | --- |
| Deterministic verification sample | 14 physical facets |
| Usable-area range | 1.96–2,896.88 m² |
| Production search | Edge-derived orientations; 9 × 9 offsets; 10 mm clearance |
| Denser comparison | Production angles plus ±2.5° perturbations; 11 × 11 offsets |
| Identical counts | 12 of 14 facets |
| Maximum difference | 1 module |
| Pooled count difference | 0.08% |
| Largest tested facet | 2,896.88 m²; no count difference |

Table S6. Sensitivity scenarios reported in the manuscript.

| Scenario family | Levels / subset |
| --- | --- |
| External setback | 0.00, 0.30 (base), 0.50 m |
| Module size | 440 W base module; 575 W larger module |
| Inter-module clearance | 0, 10 (base), 20, 40 mm |
| Roof tilt | Near-flat <5°; pitched ≥5° |
| Building influence | All buildings; remove largest; remove three largest |
| ALKIS-CityGML consistency | All buildings; IoU ≥0.80; IoU ≥0.90 |
| Correlation influence | 31 leave-one-building-out recalculations |

S4. Packing routine - algorithmic description

For each setback-clipped physical facet, the 3D polygon is transformed to a local two-dimensional roof-plane basis. Candidate module orientations are formed from the principal polygon direction, the longest boundary edges and their orthogonal alternatives. For each orientation, the module grid is translated through nine equally spaced offsets in each local coordinate direction over one module pitch. A module is counted only when its full rectangular footprint lies inside the usable facet polygon. The best count over all tested orientations and offsets is retained. Packing is performed independently for each physical facet, so no module can cross a ridge, valley or other facet boundary.

The denser verification search retains the same geometric acceptance rule but adds ±2.5° perturbations around the production orientations and increases the translation search to 11 × 11 offsets. The verification exercise is a numerical sensitivity check; it is not presented as a proof of global rectangle-packing optimality.

S5. Scale and mathematical-coupling robustness checks

Facet density is defined with gross 3D roof area in the denominator, whereas packing shortfall is defined relative to continuous capacity calculated from setback-adjusted usable area. These denominators are not algebraically identical, but both carry roof scale. Three complementary checks were therefore used to evaluate whether the primary association could be explained mainly by this shared scale: (i) an HC3-robust model with standardized facet density and standardized log gross 3D roof area; (ii) an HC3-robust model with standardized raw facet count and standardized log gross 3D roof area, avoiding a ratio-based fragmentation predictor; and (iii) a partial Spearman analysis obtained by residualizing rank-transformed facet density and packing shortfall against ranked log gross 3D roof area.

Table S7. HC3-robust building-level regression checks for packing shortfall (n = 31). Continuous predictors are standardized; coefficients are percentage-point changes in shortfall per one standard deviation. Both models use the same outcome.

| Model | Term | Coefficient (pp) | HC3 SE | 95% CI | p-value |
| --- | --- | --- | --- | --- | --- |
| A: density + log area | Intercept | 16.296 | 0.701 | 14.922 to 17.670 | <0.0001 |
| A: density + log area | Facet density (z) | 4.220 | 1.399 | 1.477 to 6.962 | 0.0026 |
| A: density + log area | Log gross 3D roof area (z) | −0.078 | 0.866 | −1.774 to 1.619 | 0.9284 |
| B: count + log area | Intercept | 16.296 | 0.997 | 14.342 to 18.251 | <0.0001 |
| B: count + log area | Raw physical-facet count (z) | 1.205 | 1.361 | −1.464 to 3.873 | 0.3763 |
| B: count + log area | Log gross 3D roof area (z) | −2.416 | 1.450 | −5.258 to 0.427 | 0.0958 |

Model A has R² = 0.641 (adjusted R² = 0.615); Model B has R² = 0.140 (adjusted R² = 0.079). For the residual-rank partial Spearman check, the association between facet density and packing shortfall after adjustment for ranked log gross 3D roof area is partial Spearman ρ = 0.622 (two-sided p = 0.00025). The density association is therefore retained after a monotonic size adjustment, while raw facet count is not independently significant in the count-plus-area model. These are robustness checks for the bounded test window, not causal or city-level estimates.